# Event Safety Checklist

The Event Safety Checklist is a guide to many of the issues that must be considered when planning an event. Depending on the nature of your event some of these issues may require more detailed attention.

ACCESS AND EGRESS

Entry and exit areas are clear and easily accessible for staff and expected crowd numbers.

Entry and exit areas are adequate for emergency exit and emergency services.

Thoroughfares are well defined and clearly marked.

TRAFFIC FLOW

Clearly defined areas for traffic which are separated from pedestrian areas.

Provisions for safe passage of emergency and other vehicles through pedestrian traffic.

Controlled traffic flow and adequate signage for directions.

AMENITIES

Adequate provision of toilets and hand washing facilities.

Availability of clean fresh water for both staff and attendees.

Adequate catering facilities, including clean up and food preparation areas.

SIGNAGE

Adequate signage for entries, exits, toilet facilities etc.

Signage for any hazardous areas or substances.

Clearly signed first aid and fire extinguisher locations.

EMERGENCY PROCEDURES

Emergency response plan in place.

Emergency response team trained to carry out plan.

Evacuation routes and maps are posted and available to all staff, emergency services and other relevant parties.

FIRE PREVENTION

Suitable fire extinguishers are in appropriate areas, tested and up to date.

Personnel are trained in fire extinguisher use.

Personnel are aware of fire evacuation procedures.

FIRST AID

First aid stations are suitably located, clearly signed and accessible.

First aid facilities are adequate for the type of event.

Effective means of communication provided between event personnel and first aid stations.

MAINTENANCE

Qualified and competent maintenance personnel available to undertake any repairs required.

Maintenance personnel have a contact person (e.g. event coordinator) and means of    communicating with them, (e.g., Two-way radio, mobile phone).

Records kept of any maintenance undertaken for future reference.

STAFF, VOLUNTEER AND CONTRACTOR TRAINING

Staff and volunteers have received orientation and trained about the event (site specific).

Copies of applications, memos and any training records are kept.

Contractors are given a relevant, site specific orientation regarding the event.

Contractors provide detailed information on safe operating procedures and a current certificates of insurance.

ELECTRICAL

All electrical cords, wires, extension cords are free of fraying and protected from damage.

Ground-Fault circuit Interrupters shall be used where applicable.

All leads, plugs, etc. are protected from weather and other environmental conditions (e.g. water).

All portable tools shall be inspected prior to use and in proper working condition and free of damage.

PERMITS, LICENSING AND REGISTRATION (INCLUDING BUT NOT LIMITED TO)

No fireworks or pyrotechnic display will be permitted on premises.

Event LPG/dangerous goods storage meets legal requirements.

Mobile equipment, such as, (forklifts, scissor lifts, aerial lifts, scaffolds, etc.) are only operated by licensed or certified operators.

Scaffolding must be erected and dismantled by a person certified to do so.

Liquor licenses.

UTILITIES/SITE SERVICES

Location of all site underground services (power/gas/mains etc.) and overhead powerlines identified.

Relevant maintenance and event personnel have maps and are aware of locations.

LIGHTING

Adequate natural or artificial lighting provided for setting up, conducting and dismantling the event.

Portable lighting is tested and in date.

Suitable emergency lighting is available.

STAGING AND PLATFORMS

All stages/lighting are signed off by a certified rigger or scaffolder and are erected by trained and certified personnel.

Platforms are continuously monitored, particularly in extreme weather conditions.

Adequate access and egress around all staging and platforms for event patrons and       emergency services.

LADDERS

Ladders are well maintained and in good condition.

Ladders kept clear of doorways, exits and passageways.

When a ladder is used to gain access to an elevated work area, the ladder extends at least 3 feet above the elevated surface.

WORK AT ELEVATED HEIGHTS

Right type of equipment is used for the job (e.g. ladder, cherry picker, scissor lift).

Only certified operators are used if cranes or elevated work platforms are required.

Evidence of compliance can be provided upon request from an authorized person (e.g. operators’ permit or certification).

MANUAL HANDLING

All staff is trained to assess each task and use proper lifting techniques.

Loads are delivered as close as possible to area using vehicle or mechanical aid (e.g.  hand trucks).

Light, small loads and physical aids (assistance from second person or lift team where        needed) are used.

LIQUID PETROLEUM GAS (LPG) CYLINDERS AND HEATERS

LPG cylinders are secured to increase stability.

LPG cylinders are clear of ignition sources and are in a well ventilated area

All LPG cylinders are checked to ensure they do not exceed 10 years of the stamped test date.

PERSONAL PROTECTIVE EQUIPMENT (PPE)

All tasks undertaken by staff and volunteers are checked for the PPE required.

PPE provided if needed (e.g. gloves, aprons, earplugs etc.) and is in good condition and         working order.

Personnel are trained in using, maintaining and storing PPE.

SECURITY

Security has been hired for crowd control and collection of large sums of money.

Security has been hired as there are high risk factors including the availability of alcohol.

OTHER CONSIDERATIONS

This checklist includes many of the key safety issues for events but is not exhaustive and is intended only as a guide for event organizers. Refer to the main part of this guide for other issues that require consideration.